**TRI SPECIAL UTILITY DISTRICT**

**300 WEST 16TH**

**MOUNT PLEASANT, TEXAS 75455**

**PH 903-572-3676 FAX 903-572-4701**

**IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER**

Tri Special Utility District has violated the monitoring and reporting requirements set by Texas Commission on Environmental Quality (TCEQ) in Chapter 30, Section 290, Subchapter F. Even though these were not emergencies, as our customers, you have the right to know what happened and what we are doing (or did) to correct these situations.

*We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During June 2016, we did not sample for lead & copper and therefore cannot be sure of the quality of your drinking water during that time. Samples were taken in September.*

The table below lists the contaminant(s) we did not properly test for during the last year, how often we are supposed to sample for them, how many samples we are supposed to take, how many samples we took, when the samples should have been taken, and the date on which the follow-up samples were taken.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Contaminant | Required Sampling Frequency | Number of Samples Taken | When Samples should have been taken | When samples were taken |
| Lead & Copper | Annually | 30 | June 2016 | September 2016 |

**What is being done?**

We are working to correct the problem. For more information, please contact Aaron Gann at 903-572-3676 or 300 West 16th, Mount Pleasant TX 75455. Corrective action includes taking samples June 2017.

*Please share this information with all other people who drink this water, especially those who may not have received this notice directly (i.e., people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

This notice is being sent to you by Tri Special Utility District. Public Water System Number 2250004. Distributed April 28, 2017